New software features – feedback

1. Provide simplified sequential and dynamic integration image extraction.

This should include the ability to auto name extracted files based on the primary name of the original file.

1. Add” dynamic total time” in TS
2. Simply the interface, group similar functions and add pull-down window for detail function. For example, put “dynamic capture” in main menu, and put “unending, total time and auto ”in pull down window.
3. For dynamic integration, unending should have a limit so it does not go 2 GB in size
4. Provide identical terminology across all software platforms for identical features.

For example, noise reduction, exposure modes

1. We need auto reset for the BioLite as well.
2. We need to provide a simplified one button touch side panel for simplified imaging. This would include the name of the assay rather than the name of the filter, one button capture, macros etc.
   1. The list should include the common white light stains one button capture
   2. The common fluorescent stains one button capture
   3. Macros to capture the image and perform manipulations for one button capture
3. Dim signal AE-improve this! This takes too long and it inaccurate.
4. Suggestion: Use TS for capture, VW for analysis.